# Bird- Safe Buildings Cost Less

Glass-Clad Walls Costs About Twice Other Options

One basic bird-safe building design strategy is to minimize the amount of reflective material, principally glass, in the first 50-100 feet. This comparison shows that building with other wall-cladding systems is much cheaper.

A study  compared wall cladding costs in several southeastern markets on a per square foot basis. The information below was extracted from the study.  Only the New Orleans prices are shown.  A second study in the Midwest reached the same conclusion.

|  |  | Cost per sq. ft | % of glass cladding |
| --- | --- | --- | --- |
| Hardcoat Simulated Stucco |  | $14.25 | 27% |
| Pre-Cast Concrete Tilt-Up Fluted Panels |  | $16.66 | 31% |
| Industrial Ribbed Metal Siding |  | $17.10 | 32% |
| 8" Split Face [Colored] |  | $18.15 | 34% |
| 12' Split Face Block |  | $19.61 | 37% |
| Brick Veneer & Wood Stud |  | $20.02 | 38% |
| Block Veneer & Metal Stud |  | $20.06 | 38% |
| Brick Veneer & Metal Stud |  | $20.54 | 39% |
| Utility Brick [Joint Reinforcing] |  | $21.12 | 40% |
| Hollow Structural Brick |  | $21.68 | 41% |
| Stucco on CMU |  | $23.61 | 45% |
| Ground Face Block |  | $24.18 | 46% |
| Utility Brick & Block Cavity Wall |  | $24.67 | 47% |
| Block & Block cavity wall |  | $27.38 | 52% |
| Brick & Block Barrier Wall |  | $28.53 | 54% |
| Metal Curtain Wall |  | $39.95 | 76% |
| Glass Curtain Wall |  | $52.89 | 100% |
| Granite or Marble Panel |  | $75.67 | 143% |

Prepared by Jim Cubie, J.D. consultant to the Acopian Center for Ornithology at Muhlenberg College

Southeast Study  see https://ornithologycenter.com/wp-content/uploads/2026/05/Commercial-Wall-Cost-Study.pdf

Midwest Study  https://ornithologycenter.com/wp-content/uploads/2026/05/Brick-is-expensive-right_-You-might-be-surprised.pdf